## Slide 1
ECRC~SIMEC
Bakken Crude Oil Spill Response
From July 6, 2013 Train Incident
Lac Megantic, Quebec
Notes: Welcome & Introductions

## Slide 2: Oil Volume
(as reported by CBC July 29 2013)
7,200,000 litres of bakken crude oil on train
900,000 litres of oil not spilled inside 9 intact cars
670,000 litres of oil that was recovered from damaged cars
5,630,000 litres of crude oil that was burned or spilled into the environment

## Slide 3: Incident Site – Lac Megantic

## Slide 4: Water Entry Point – Lac Megantic

## Slide 5: River Background Information
Chaudière River - source near Lac Megantic
Drainage area is approx. 6,682 square kilometres
Water level could change by 50 cm or 20”
185 Km long
Has 3 control dam’s
Rocky bottom in river

## Slide 6: Use of Control Dams
After the incident occurred the control dams were lowered in an attempt to control the spread of oil
Threat of flooding from a storm however meant dams could not remain closed indefinitely
Resulting in some uncontained surface oil dropping with decreasing water level in river

## Slide 7: Lac Megantic – Control Dam

## Slide 8: Chaudière River - Control Dam

## Slide 9: Oil Observed “Submerged”
Notes: When rocks were lifted up or disturbed oil could be seen to be released as in this picture. The crude was typically a green colour

## Slide 10: “Submerged” oil under rock
Notes: The crude could in some cases have a brown/orange ting depending on what it was mixed with after being released. If you look closely at the glove you can see the green oil.

## Slide 11: Access Challenges
Notes: Water front property rights extended into the river – property owner permission was required to gain access for treatment
In some cases access roads/paths had to be created or abandoned ones reopened to gain access.

## Slide 12: Roads & Trails
Notes: Many of the access trails were simple mud roads, which could be difficult to transit when wet.

## Slide 13: SCAT
In-River Assessment Challenges
Notes: SCAT process used and adapted for the river including submerged oil. River conditions varied by location and when the control dams were raised or lowered. Worker safety was always a high priority.

## Slide 14: Vessel Operations
Notes: Some areas allowed for use of larger vessels for equipment and personnel transport and others only small shallow boat or walking with waders.

## Slide 15: Oiled Vegetation Removal
Notes: Crude oil in some locations clung to vegetation and had to be removed by selective cutting. In other areas the oil penetrated the bank requiring the removal of the oiled surface layer.

## Slide 16: Flushing Operations
Notes: Some oil was observed trapped between and beneath rocks and debris at the shoreline which was released through flooding and flushing operations.

## Slide 17: Flushing Operations
Notes: Water pumps floated on inner tubes in the shallow water were used to supply flushing water

## Slide 18: Submerged Oil Remobilization & Recovery
PVC - Water discharge lance
Veturi - Air Injection
Notes: PVC lances fabricated from plumbing supplies designed to allow water with entrained air to be used to remobilize oil around rocks on the river bed. Oil released was typically small quantity collected by sorbents and nets. Treatment done on a section by section basis typically having collection point every 300-500m.
Quantity of oil trapped believed to be small so decision was made only to use minimal invasive methods and allow natural remediation versus say dredging etc.

## Slide 19: Worker Necessities

## Slide 20: Questions???
20